Quality Summary – how well do reed beds work?

Reed Bed Systems can be specified for the following:

- Waste Water Treatment

Extensive good evidence for treatment.

Good buffer potential and robust.

Good potential for extending life/ capacity of existing works.

Low/nil power requirement in most applications.

Low maintenance costs.

- Industrial Process Water

Good evidence for treatment, particularly where discharges are not consistent.

Easy maintenance for operator

- Mine Water and Leachate

Reasonable evidence for treatment.

Heavy removal and SS removal good.

Easy maintenance for operator.

- Sustainable Urban Drainage (SUDs)

Very good evidence for treatment.

Particularly suitable when integrated in SUDs schemes for roads and rural areas, where there is evidence of pollution of the watercourse.

Good treatment of SS from first flush.

Easy maintenance by council workers.

Good biodiversity potential.

- Primary Sewage Treatment (Sludge Treatment)

Good evidence for treatment from large works in Denmark.

First projects in progress in England in 2006

- Agricultural Dirty Water

Reasonable evidence for treatment from Europe and New Zealand. Phosphorous removal limited without additional treatment.

Good preliminary results on small project in Northern Ireland.

- Primary/Secondary/Tertiary for Housing Developments and Single

Houses

Extensive good evidence for treatment for all types of small works to very high standards (SS/BOD 5mg/litre).

Particularly good for rural applications where Planning Permission may be problematic.